## Slide 1: Novel glucose-sensing technology and hypoglycaemia in type 1 diabetes: a multicentre, non-masked, randomised controlled trial
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 2: Introduction
Tight control of blood glucose levels delays the onset of micro- and macrovascular complications
CGM improves glucose control and reduces hypoglycaemia risk
Current CGM devices are limited by short sensor lifetime and a requirement for daily calibration with self-monitoring of blood glucose
This study used a novel sensor-based flash glucose monitoring system
CGM, continuous glucose monitoring Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 3: Sensor-based flash glucose monitoring system
Factory calibrated sensor
Sensor wear of up to 14 days without requiring calibration
Glucose data stored automatically every 15 minutes
Can be scanned to obtain current glucose level when required
Glucose reports can be generated using the system software for review by patient or clinician
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 4: IMPACT study design
Prospective, non-masked, study conducted at 23 European diabetes centres (ClinicalTrials.gov record: NCT02232698)
Flash sensor-based glucose monitoring (intervention group)
SMBG using capillary strips
(control group)
Patients with type 1 diabetes; ≥18 years;
disease duration ≥ 5 years; current insulin regimen for ≥3 months
HbA1c of ≤7.5%
6 month study period
2 week masked period of sensor wear
R
1:1
2 week period of masked sensor wear
*The control group had two further 14-day blinded sensor-wear periods before the 3- and 6-month
time points. HbA1c, glycosylated haemoglobin; R, randomization; SMBG, self-monitoring of blood glucose
Oskarsson P, et al. Diabetologia. 2017 Dec 23. doi: 10.1007/s00125-017-4527-5. [Epub ahead of print] Bolinder J, et al. Lancet. 2016;388:2254-2263

## Slide 5: Participants
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263
Chart: 
| Category 1
Series 1 | 120
Series 2 | 121
A total of 328 participants 241 were randomised
Chart: 
| Category 1
Series 1 | 110
Series 2 | 101
120 to the intervention group
121 to the control group
110 to the intervention group
101 to the control group
211 participants completed the study

## Slide 6: Baseline characteristics
Intervention (n=119)
Median age: 42 (33–51) years
65% male*
Mean BMI: 25.2 kg/m2
Median DOD: 20 (13–27) years
Mean HbA1c: 6.7%
Controls (n=120)
Median age: 45 (33–57) years
49% male
Mean BMI: 24.8 kg/m2
Median DOD: 20 (12–32) years
Mean HbA1c: 6.7%
*p=0.0153 vs controls. BMI, body mass index; DOD, duration of diabetes.
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 7: Time in hypoglycaemia (primary endpoint)
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263
Time in hypoglycaemiaa, h/day | Control group | Intervention group
At baselineb | 3.44 | 3.38
At 6 monthsb | 3.27 | 2.03
Mean change from baseline | –0.14 | –1.39
Adjusted between-group difference | –1.24; p<0.0001 | 
aHypoglycaemia was defined as sensor glucose levels <3.9 mmol/L (<70 mg/dL) bEndpoint was the mean time spent in hypoglycaemia over the last 14 days of the 6-month study period |  | 
Notes: There was a 38% reduction in time in hypoglycaemia in the intervention group

## Slide 8: Time in glucose states
*p<0.001 vs control group at study end; †p<0.05 vs control group at study end
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263
Chart: 
Intervention - Baseline | 1.85 | 3.38 | 1.32 | 1.59 | 0.62 | 0.85 | 0.36 | 0.59
Intervention - Study end | 1.67 | 2.03 | 0.68 | 0.8 | 0.31 | 0.38 | 0.15 | 0.26
Control - Baseline | 1.91 | 3.44 | 1.48 | 1.77 | 0.75 | 1.04 | 0.48 | 0.75
Control - Study end | 2.06 | 3.27 | 1.23 | 1.65 | 0.66 | 0.96 | 0.43 | 0.73
Glucose >13.3 mmol/L over 24 hours
*
Hours
Over 24 hours
Over night
†
*
*
*
*
*
*
Glucose <2.2 mmol/L over 24 hours
Glucose <3.9 mmol/L
Glucose <3.1 mmol/L
Glucose <2.5 mmol/L
Over 24 hours
Over night
Over 24 hours
Over night
Notes: Time below all hypoglycaemic thresholds as well as time spent in hyperglycaemia were significantly improved in the intervention group compared with controls

## Slide 9: Hypoglycaemia event rates
*p<0.001 vs control group at study end
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263
Chart: 
Intervention - Baseline | 1.81 | 0.47 | 0.96 | 0.34 | 0.56 | 0.23 | 0.39
Intervention - Study end | 1.32 | 0.27 | 0.56 | 0.19 | 0.29 | 0.11 | 0.19
Control - Baseline | 1.67 | 0.46 | 0.92 | 0.36 | 0.59 | 0.27 | 0.44
Control - Study end | 1.69 | 0.4 | 0.92 | 0.3 | 0.56 | 0.21 | 0.43
*
Number of events
Over 24 hours
Over night
*
*
*
*
*
Glucose <2.2 mmol/L over 24 hours
Glucose <3.9 mmol/L
Glucose <3.1 mmol/L
Glucose <2.5 mmol/L
Over 24 hours
Over night
Over 24 hours
Over night
*
Notes: Number of hypoglycaemic episodes were significantly improved in the intervention group compared with controls

## Slide 10: Other secondary glucose endpoint
At 6 months, there was no difference in HbA1c between groups (p=0.9556)
Significant between-group differences at 6 months was observed in:
  MAGE (p=0.0055)
  LGBE (p<0.0001)
  LGBI (p<0.0001)
  BGRI (p=0.0004)
  CONGA (2h - p<0.0001; 4h - p=0.0004)
BGRI, Blood glucose risk index ; CONGA, Continuous overall net glycaemic action; LBGE, Low blood glucose excursions ; LBGI, Low blood glucose index ; MAGE, Mean amplitude of glycaemic excursions;
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 11: Patient satisfaction and QoL
Patient satisfaction with treatment was significantly improved in the intervention group (p<0.0001)
Total treatment satisfaction and perceived frequency of hyperglycaemia were also significantly improved in the intervention group (both p<0.0001)
No significant difference in the diabetes quality of life score was observed between treatment groups in the full analysis set (p=0.0524)
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 12: Adverse events
In total 276 AEs were reported by 124 participants
10 SAEs occurred; 5 in each treatment group
Severe hypoglycaemia-related AEs (requiring hospitalisation or third-party intervention) were reported for two intervention (n=2 AEs) and three control group participants (n=4 AEs)
No serious AE was considered related to the device
13 AEs related to sensor wear occurred in 10 intervention participants
AEs, adverse events; SAEs, serious adverse events
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263

## Slide 13: Conclusion
The use of the flash sensor-based glucose technology was associated with clinically relevant reductions in time and incidence of hypoglycaemia in adult participants with well controlled type 1 diabetes
This study demonstrated that the sensor is a safe replacement for self-monitoring of blood glucose, with no deterioration in HbA1c levels
The sensor was highly accepted and holds great promise as an effective alternative to conventional self-monitoring of blood glucose
Bolinder J, et al. Lancet. 2016;388(10057):2254-2263